## Sheet1
Human Application – Serious Adverse Events closed in Q2 2020/21 – Details
Licence | Organisation | Case Number | Process Event Linked To | Description of Event
Number
22513 | Anthony Nolan | CAS-49995-S2Z5 | Procurement | Positive microbiology test result on procured unit.
11010 | The Jack Copland Centre | CAS-55990-D9G3 | Preservation | Equipment failure.
11036 | SCI Sheffield | CAS-54884-L0P1 | Procurement | Positive microbiology test result on procured unit.
11001 | Royal Marsden Hospital | CAS-55891-X4Y7 | Procurement | Positive microbiology test result on procured unit.
11100 | Queen Elizabeth Hospital Birmingham | CAS-53835-R4C6 | Procurement | Positive microbiology test result on procured unit.
11018 | NHSBT Liverpool | CAS-54306-D7W4 | Processing | Positive microbiology test result on procured unit.
22505 | Chapel Allerton Hospital | CAS-55731-S6G7 | Storage | Incorrect temperature measurement resulted in the disposal of tissue.
22656 | NuVision Biotherapies Limited | CAS-55858-Z5C0 | Distribution | Weather issues affected the timely distribution of tissue.
22518 | NHSBT Bristol | CAS-55435-W5B7 | Other (please specify) | Damage resulted in product leakage and disposal of unit.
11042 | SCI Oxford | CAS-50421-Q9D6 | Procurement | Positive microbiology test result on procured unit.
11073 | Nottingham University Hospitals City Campus | CAS-54464-M9P8 | Other (please specify) | Damage to bag resulted in disposal of unit.
22513 | Anthony Nolan | CAS-54885-S2S6 | Materials | Leakage of stem cells.
22518 | NHSBT Bristol | CAS-54109-W4S5 | Procurement | Positive microbiology test result on procured unit.
22522 | Smart Cells International | CAS-55682-Z2Z5 | Procurement | Human error resulted in the tissue being packaged inappropriately.
22513 | Anthony Nolan | CAS-54962-S2Z9 | Procurement | Positive microbiology test result on procured unit.
22533 | Heartlands Hospital | CAS-55828-G8P1 | Procurement | Positive microbiology test result on procured unit.
22596 | Manchester University NHS Foundation Trust - Central Hospitals | CAS-55172-S3M5 | Other (please specify) | Tissue with incomplete testing results issued for transplantation.
11053 | SCI Southampton | CAS-55417-W1B4 | Procurement | Positive microbiology test result post-processing.
11081 | The Christie | CAS-53841-F9P8 | Procurement | Positive microbiology test result on procured unit.
11053 | SCI Southampton | CAS-54970-G8G5 | Procurement | Positive microbiology test result on procured unit.
11036 | SCI Sheffield | CAS-55276-Z5L7 | Procurement | Positive microbiology test result on procured unit.
11053 | SCI Southampton | CAS-52082-T8W1 | Testing | Initial microbiology test post-processing was positive but clear on re-testing.
22526 | Wessex Blood and Marrow Transplant Unit (Adult & Paediatric) | CAS-52018-B2N0 | Testing | Initial microbiology test post-processing was positive but clear on re-testing.
11081 | The Christie | CAS-53802-V6B8 | Transportation | Temperature limits for storage of units (on ward) exceeded due to extended infusion time.
22586 | Wescott Medical Ltd | CAS-53805-H7P7 | Other (please specify) | Tissue not suitable for use.
22513 | Anthony Nolan | CAS-55923-Q8X2 | Procurement | Positive microbiology test result on procured unit.
11093 | Derriford Hospital | CAS-54561-H4Q7 | Processing | Positive microbiology test result on procured unit.
22513 | Anthony Nolan | CAS-52661-B4D2 | Procurement | Positive microbiology test result on procured unit.
11093 | Derriford Hospital | CAS-52636-V9N0 | Procurement | Positive microbiology test result on procured unit.
11041 | SCI Birmingham | CAS-53748-L0T6 | Procurement | Positive microbiology test result on procured unit.
11063 | BioVault | CAS-55302-T1X7 | Procurement | Unlicensed procurement.
11017 | SCI Leeds | CAS-53646-B5B2 | Distribution | Incorrect release of a unit.
11017 | SCI Leeds | CAS-54717-Y5Z4 | Storage | Loss of a unit of stem cells due to a damage of the bag.
11048 | Royal Brompton Hospital | CAS-52668-K6T5 | Materials | Loss of units, remaining units stored under concession due to non-conforming consumables.
22513 | Anthony Nolan | CAS-53690-D6K1 | Procurement | Positive microbiology test result on procured unit.
11036 | SCI Sheffield | CAS-53718-F8D6 | Procurement | Positive microbiology test result on procured unit.
11069 | London Bridge Hospital | CAS-54877-D3Y1 | Transportation | Loss of a unit.
11081 | The Christie | CAS-53696-G8W2 | Procurement | Human error caused the loss of the sample.
11081 | The Christie | CAS-53698-W2C6 | Procurement | Positive microbiology test result on procured unit.
11001 | Royal Marsden Hospital | CAS-56229-F2P9 | Materials | Reagent stored outside the required temperature range.
11041 | SCI Birmingham | CAS-55238-V0D9 | Distribution | The wrong product was released and thawed for end use. This resulted in disposal of the tissue.
11100 | Queen Elizabeth Hospital Birmingham | CAS-55324-P0P4 | Other (please specify) | The transplant centre did not thoroughly check information on the unit during the two person check and the unit was thawed incorrectly, leading to disposal of the unit.
11017 | SCI Leeds | CAS-51893-S3G9 | Processing | An equipment fault caused a loss of tissue.
22513 | Anthony Nolan | CAS-54116-Y6T8 | Procurement | Positive microbiology test result post-processing.
22513 | Anthony Nolan | CAS-55353-X2C6 | Testing | Mandatory serology testing not performed.
11052 | The London Clinic | CAS-55341-V6T9 | Testing | Mandatory testing not carried out.
22513 | Anthony Nolan | CAS-54486-R8Z6 | Procurement | Positive sterility on procured unit.