## Sheet1
Human Application – Serious Adverse Events closed in Q1 2022/23 – Details
Licence | Organisation | Case Number | Process Event Linked To | Description of Event
Number
22522 | Smart Cells International | CAS-62260-G9V3 | Procurement | Loss of unit
11083 | Cells4Life Group LLP | CAS-60848-V8T1 | Storage | Delay in passive freezing
11042 | SCI Oxford | CAS-63056-S7G7 | Testing | Unit disposed due to discrepant data
22522 | Smart Cells International | CAS-59760-S8G6 | Transportation | Unit not transported at validated temperature
11041 | SCI Birmingham | CAS-62184-G1L3 | Testing | Positive microbiology test result post-processing.
22518 | NHSBT Bristol | CAS-63383-H9R3 | Preservation | Human error led to incorrect cell dilution
22503 | Future Health Technologies Ltd | CAS-62840-J1H3 | Transportation | Human error caused the loss of the sample during transport
22503 | Future Health Technologies Ltd | CAS-62536-C2K8 | Transportation | Human error caused the loss of the sample during transport
11053 | SCI Southampton | CAS-61260-J3G8 | Processing | Unexpected equipment fault during processing.
11073 | Nottingham University Hospitals City Campus | CAS-62078-R9C9 | Procurement | Positive sterility on a procured unit.
22513 | Anthony Nolan | CAS-62577-D0B8 | Procurement | Positive microbiology test result on procured unit.
11052 | The London Clinic | CAS-62621-B1L8 | Procurement | Positive microbiology test result on procured unit.
11005 | Birmingham Children's Hospital | CAS-60005-W3P6 | Procurement | Positive microbiology test result on procured unit
11005 | Birmingham Children's Hospital | CAS-60074-M0Z8 | Procurement | Positive microbiology test result on procured unit
22518 | NHSBT Bristol | CAS-60066-R7L8 | Procurement | Positive microbiology test result on procured unit
11066 | Addenbrooke's Hospital | CAS-61460-J3D6 | Procurement | Insufficient collection necessitated an additional procurement.
11016 | Royal Free Hospital | CAS-61405-M2H1 | Processing | Loss of cells during processing
11025 | University College London Hospitals | CAS-62564-J1P1 | Testing | Positive microbiology test result post processing.
11119 | Basingstoke and North Hampshire Hospital | CAS-61329-H8X5 | Storage | Equipment failure resulted in loss of tissue
22527 | Anthony Nolan Cord Blood Bank | CAS-62442-P5R2 | Other (please specify) | Human error
11081 | The Christie | CAS-62797-M7P7 | Procurement | Positive microbiology test result on procured unit.
11052 | The London Clinic | CAS-62267-M4G5 | Procurement | Positive microbiology test on procured unit.
11052 | The London Clinic | CAS-62339-D6R3 | Testing | Cells disposed of due to positive NAT test on day of donation despite negative serology test at screening
22513 | Anthony Nolan | CAS-62199-P3B7 | Testing | Cells disposed of due to positive NAT test on day of donation despite negative serology test at screening
11094 | University Hospital of Wales | CAS-62751-P7S1 | Procurement | Equipment failure
11063 | BioVault | CAS-60153-S8C5 | Processing | Loss of unit due to equipment failure
11018 | NHSBT Liverpool | CAS-61910-G5R0 | Distribution | Transport delays
11100 | Queen Elizabeth Hospital Birmingham | CAS-63323-K6G7 | Procurement | Positive sterility on procured unit
Human Application – Serious Adverse Reactions closed in Q1 2022/23 – Details
Licence | Organisation | Case Number | Donor or Recipient Affected | Description of Reaction
Number
22513 | Anthony Nolan | CAS-60435-J5T9 | Donor | Cause of post donation reaction undetermined
22513 | Anthony Nolan | CAS-61805-M0K9 | Donor | Donor reaction after procurement.
22497 | Welsh Blood Service | CAS-61703-Y0Y2 | Donor | Donor reaction